SECTION 07

SNOW GUARDS

This section has been prepared by Metal Roof Innovations, Ltd. for use in the preparation of a project specification section covering SnoRail and SnoFence snow guards for standing seam metal roofs using S-5! Clamps, a non-penetrating attachment system, in either aluminum, stainless steel, or brass to complement any type of metal roof panels.

The following should be noted in using this specification:

Notes are included to assist the user in editing the section to suit project requirements. These notes are included as hidden text, and can be revealed or hidden by one of the following methods:

Microsoft Word: From the pull-down menus select TOOLS, then OPTIONS. Under the tab labeled VIEW, select or deselect the HIDDEN TEXT option.

Corel WordPerfect: From the pull-down menus select VIEW, then select or deselect the HIDDEN TEXT option.

Hypertext links to specific websites are included after manufacturer names and names of organizations whose standards are referenced within the text, to assist in product selection and further research. Hypertext links are contained in parenthesis, e.g.:

(www.S-5.com)

Optional text requiring a selection by the user is enclosed within brackets, e.g.: "Section [09000.] [_____.]"

Items requiring user input are enclosed within brackets, e.g.: "Section [_____ - ________]."

Optional paragraphs are separated by an "OR" statement, e.g.:

**** OR ****

"Green" requirements are included for projects requiring LEED certification, and are included as green text. For additional information on LEEDS, visit the U.S. Green Building Council website at www.usgbc.org.

The following guide specifications on related products are also available from Metal Roof Innovations, Ltd.:

Section 07721.01 - Snow Guards: Snow guards for standing seam metal roofs, exposed fastener metal panels, or metal or composition tiles and shingles, using either the S-5! non-penetrating attachment method or face-fastened (penetrating) attachment.

Section 07730 - Roof Accessory Attachment Systems: A non-penetrating system for attachment of equipment, piping, conduit, snow guards, walkways, parapet bracing, solar panels, and other accessories to standing seam metal roofs.

For assistance on the use of the products in this section, contact Metal Roof Innovations, Ltd. by calling 719-495-0518, by email at info@S-5solutions.com, or visit our website at www.S-5.com.

- - GENERAL

  - SUMMARY

- Edit the following paragraphs to include only those items specified in this section.

    - Section Includes:

      - Snow guards for standing seam metal roofs.

      - Non-penetrating attachment system.

- Coordinate the following paragraphs with other sections in the project manual.

    - Related Sections:

      - Division 1: Administrative, procedural, and temporary work requirements.

      - Section [07410 - Metal Roof Panels:] [07610 - Sheet Metal Roofing:] [_____ - _______:] Metal roof panels.

      - Section 07730 - Roof Accessory Attachment System.

  - REFERENCES

    - Aluminum Association (AA) (www.aluminum.org) - Aluminum Standards and Data, 2003 Edition.

    - ASTM International (ASTM) (www.astm.org):

      - A581/A581M-95b(2004) - Standard Specification for Free-Machining Stainless Steel Wire and Wire Rods.

      - A582-05 - Standard Specification for Free-Machining Stainless Steel Bars.

      - B85-03 - Standard Specification for Aluminum-Alloy Die Castings.

      - B221-04a - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

      - E527-83(2003) - Standard Practice for Numbering Metals and Alloys.

  - SYSTEM DESCRIPTION

    - Attachment system to provide attachment to standing seam metal roofs:

      - With only minor dimpling of panel seams.

      - Without penetrations through roof seams or panels.

      - Without use of sealers or adhesives.

      - Without voiding roof warranty.

Roof snow loads that can be expected for any given project vary based on project location, roof dimensions, roof slope, wind effects, and building configuration. The following paragraph establishes the minimum in-service vector load in pounds per linear foot of eave, which is then used to design the attachment system. This vector load must be determined from the site-specific details by a structural engineer or in conjunction with the S-5! SnoFence distributor. Note that the in-service vector load is not the same as the code-dictated snow load based on horizontal at-grade surfaces.

    - Loading: Design snow guard system to resist minimum in-service vector load of [__] pounds per linear foot of eave.

    - Factor of safety:  Utilize a factor of safety  [2] [____] to determine allowable loads from ultimate tested clamp tensile load values.

  - SUBMITTALS

- Limiting submittals to only those actually required helps to minimize liability arising from the review of submittals. Minimize submittals on smaller, less complex products.

- Include the following for submission of shop drawings, product data, and samples for the Architect's review.

    - Submittals for Review:

      - Shop Drawings: Show locations of snow guards on roof and attachment spacing.

      - Product Data: Include product description and installation instructions.

      - Samples:

        - Clamp samples.

        - Cross member samples including coupler and other hardware.

    - Quality Control Submittals:

      - Test results: Results of product load testing, issued by a recognized independent testing laboratory, showing load-to-failure value of attachment.

- Include the following for submission of sustainable design submittals.

    - Sustainable Design Submittals:

- Include the following for projects located within 500 miles of the Metal Roof Innovations, Ltd. fabrication facility.

      - Regionally manufactured products: Certify location of material manufacturer and distance from manufacturer to project site.

- Include the following for submission of closeout submittals for the Owner's record purposes.

    - Closeout Submittals:

      - Certification: Installer's certification that snow guard system was installed in accordance with manufacturer's instructions and approved Shop Drawings.

  - QUALITY ASSURANCE

- Include the following for full size mockups for review of construction and coordination of work of several sections.

    - Mockup:

      - Size: Minimum [__] feet long.

      - Show: Snow guard attachment, cross members, and accessories.

      - Locate [where directed.] [____.]

      - Approved mockup may remain as part of the Work.

- - PRODUCTS

  - MANUFACTURERS

    - Contract Documents are based on LMCurbSnowGuard [one rod] [two rod] by LMCurbs – 1-800-284-1412.  827 Fisher Rd. Longview, TX.  75604.  www.lmcurbs.com(www.S-5.com)

- Edit the following to indicate whether or not substitutions will be permitted for the products in this section.

    - Substitutions: [Under provisions of Division 1.] [Not permitted.]

  - COMPONENTS

- Include the following for aluminum clamps for SnoRail or SnoFence systems.

    - Clamps:

      - Manufactured from 6061-T6 aluminum extrusions conforming to ASTM B221 or aluminum castings conforming to ASTM B85 and to AA Aluminum Standards and Data.

      - Clamp model:  LMClamp.

      - Set screws: 300 Series stainless steel, 18-8 alloy, 3/8 inch diameter, with round nose point.

      - Attachment bolts:  300 Series stainless steel, 18-8 alloy, 10 mm diameter, flanged head.

    - Snow Straps: Lower / Upper:

      - Manufactured from 6061-T6 alloy and temper aluminum extrusions conforming to ASTM B221 and AA Aluminum Standards and Data.

    - Stop Collar:

      - Manufactured from Type 303 stainless steel conforming to ASTM A581/A581M or ASTM A 582.

- Include the following for aluminum cross members. Posts are required for SnoFence only.

    - Cross Members:

      - Manufactured from 6061-T6 alloy and temper aluminum extrusions conforming to ASTM B221 and AA Aluminum Standards and Data.

      - Provide coupler ensuring alignment and structural continuity at end joints.

- **** OR ****

- Include the following for stainless steel cross members. Posts are required for SnoFence only.

    - Cross Members:

      - Manufactured from Type 303 stainless steel conforming to ASTM A581/A581M or ASTM A 582.

      - Provide coupler ensuring alignment and structural continuity at end joints.

- **** OR ****

- Include the following for brass cross members. Posts are required for SnoFence only.

- SnoClips are required for roofs with seam heights of 2 inches or more and are optional for seam heights less than 2 inches.

    - SnoClips: Aluminum, with rubber foot, minimum 3 inches wide.

- - EXECUTION

  - EXAMINATION

    - Prior to beginning installation, verify that:

      - Panel seaming is complete.

      - Panel attachment is sufficient to withstand loads applied by snow guard system.

      - Installation will not impede roof drainage.

  - PREPARATION

    - Clean areas to receive attachments; remove loose and foreign matter that could interfere with installation or performance.

- Include the following for SnoRail.

  - INSTALLATION

    - Install system in accordance with manufacturer's instructions and approved Shop Drawings.

    - Place clamps at maximum 24 inches on center or as required by in-service loads.

    - Place clamps in straight, aligned rows.

    - Install set screws into clamps.

    - Tighten set screws to manufacturer's recommended torque.

- Use S-5-AE when the system is aluminum; S-5-BE when the system is brass.

    - Use stainless steel stop collars at each end of each assembly, and at a frequency and spacing of one for each 48 feet of assembly.

    - Slide on [one SnoClip] [two SnoClips] per panel between panel seams.

    - Install cross members through holes in Snow Straps.

    - Install couplers at cross member end joints.

    - Tighten set screws against cross members at all stop collar locations.

    - Do not cantilever cross members more than 3 inches beyond last clamp at ends.

- Include the following when applicable. Use one SnoClip per panel for panels up to and including 24 inch seam spacing and two per panel over 24 inches.

- END OF SECTION